## Instructions
ISO 13485 Risk Assessment Template (FMEA Format)
Aligned with ISO 14971 risk management principles ¦ QualityCoach.net
How to Use This Template
1. Identification
Go to the 'FMEA Worksheet' tab. List each item, process step, or component you are assessing for risk in the 'Item / Process Step' column.
2. Hazard & Failure Mode Analysis
For each item, identify the potential failure mode, its effect(s) on the patient/user/product, and the potential cause(s). Be specific and use objective, observable language.
3. Initial Risk Scoring
Score Severity (S), Probability/Occurrence (O), and Detectability (D) using the rating scales on the 'Rating Scales' tab. Each ranges from 1 (best) to 5 (worst).
4. Risk Priority Number (RPN)
RPN = Severity x Occurrence x Detectability. This is calculated automatically. RPN ranges from 1 to 125.
5. Risk Evaluation
The 'Risk Level' column is calculated automatically based on your RPN thresholds (set on the Rating Scales tab). Review against your organization's risk acceptability criteria.
6. Risk Control Measures
For any risk that is not acceptable, define a specific risk control measure (design change, protective measure, or information for safety) per ISO 14971 hierarchy.
7. Residual Risk Scoring
After implementing controls, re-score Severity, Occurrence, and Detectability to calculate the Residual RPN. Verify the residual risk is acceptable before closing the item.
8. Verification & Sign-off
Document how the effectiveness of the risk control was verified, who performed the assessment, and the date.
Customization Notes
- Adjust the rating scale definitions on the 'Rating Scales' tab to match your product type, regulatory market, and internal risk acceptability matrix.
- Adjust RPN threshold values (Low / Medium / High) to reflect your company's documented risk acceptance criteria.
- This template uses a simplified 1-5 scale per factor (max RPN 125). Some organizations use 1-10 scales (max RPN 1000) -- adjust the Rating Scales tab and conditional formatting thresholds accordingly if you do so.
- Add additional rows in the FMEA Worksheet as needed; formulas will need to be copied down to new rows.
Reference
This template supports documentation requirements under ISO 13485:2016 Clause 7.1 (Risk Management) and aligns with the ISO 14971 risk management process for medical devices.
For a complete walkthrough of ISO 13485 requirements, see the ISO 13485 Guide and the full ISO 13485 Templates collection at QualityCoach.net.

## Rating Scales
Risk Rating Scales & Acceptability Criteria
Customize these definitions to match your product risk profile and regulatory market.
Severity (S) - Effect of Failure
Score | Rating | Description
1 | Negligible | No injury or impact. No effect on product performance or patient/user.
2 | Minor | Minor injury or temporary discomfort not requiring intervention. Minor impact on product performance.
3 | Moderate | Injury requiring medical intervention. Noticeable impact on product performance or quality.
4 | Serious | Serious injury or permanent impairment. Significant product failure affecting safety or efficacy.
5 | Critical | Death or life-threatening injury. Complete loss of intended function with direct patient safety impact.
Occurrence / Probability (O) - Likelihood of Failure
Score | Rating | Description
1 | Remote | Failure unlikely. No known occurrences in similar products/processes (<1 in 100,000).
2 | Low | Relatively few failures expected. Isolated incidents reported (about 1 in 10,000).
3 | Moderate | Occasional failures expected based on similar processes/products (about 1 in 1,000).
4 | High | Repeated failures likely. Frequent occurrences in similar processes (about 1 in 100).
5 | Very High | Failure is almost inevitable without controls (greater than 1 in 10).
Detectability (D) - Likelihood of Detecting Failure Before Harm
Score | Rating | Description
1 | Very High | Current controls will almost certainly detect the failure mode before it reaches the user.
2 | High | Good chance current controls detect the failure mode (e.g., automated inspection, 100% testing).
3 | Moderate | Current controls may detect the failure mode (e.g., sampling inspection, periodic checks).
4 | Low | Current controls are unlikely to detect the failure mode before use (e.g., visual check only).
5 | Very Low | No current controls exist to detect the failure mode. Failure is undetectable until use/failure occurs.
Risk Priority Number (RPN) Thresholds
RPN Range | Risk Level | Required Action
1 - 8 | Low | Acceptable. No additional risk control required. Document rationale.
9 - 27 | Medium | Review required. Implement risk controls where reasonably practicable (ALARP).
28 - 125 | High | Unacceptable. Risk control measures are mandatory before release. Re-assess after controls.

## FMEA Worksheet
ISO 13485 / ISO 14971 Risk Analysis - FMEA Worksheet
Product / Process Name: |  | Prepared By: |  | Date: |  | Revision:
No. | Item / Process Step | Potential Failure Mode | Potential Effect(s) of Failure | Potential Cause(s) | Current Controls | Severity (S) 1-5 | Occurrence (O) 1-5 | Detection (D) 1-5 | RPN (S x O x D) | Risk Level | Risk Control Measure | Control Type (Design/Protective/Info) | Responsible Person | Target Date | Residual S 1-5 | Residual O 1-5 | Residual D 1-5 | Residual RPN | Residual Risk Level | Verification of Effectiveness | Status
1 | Sterile packaging seal - sealing process | Incomplete heat seal on pouch | Loss of sterility; potential infection risk to patient | Sealing temperature out of range; operator error; equipment drift | Visual inspection of seal; daily temperature log | 4 | 3 | 3 | 36 | High | Add automated seal integrity tester (100% inspection) and operator training on temperature setpoints | Detection / Protective | Production Engineer | 2026-09-30 | 4 | 2 | 1 | 8 | Low | Verified via 30-day production run with zero seal failures detected by tester; effectiveness reviewed in management review | Open
2 | Labeling - device identification | Incorrect lot number printed on label | Traceability failure; potential mix-up of devices from different lots | Manual label change not updated in printer software | Operator verification against work order before run start | 3 | 2 | 3 | 18 | Medium | Implement barcode verification system that cross-checks label data against the work order before printing | Detection | QA Manager | 2026-08-15 | 3 | 1 | 1 | 3 | Low | Pending verification - scheduled after barcode system installation | In Progress
3 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
4 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
5 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
6 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
7 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
8 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
9 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
10 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
11 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
12 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
13 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
14 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
15 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
16 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
17 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
18 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
19 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
20 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
21 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
22 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
23 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
24 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
25 | [8 empty] | 0 | Low | [7 empty] | 0 | Low
Note: This document is a controlled quality record once completed. Retain per your Document Control and Record Retention procedures.