## Instructions
ISO 13485:2016 CAPA Form Template
Corrective & Preventive Action record per Clauses 8.5.2 / 8.5.3 ¦ QualityCoach.net
How to Use This Template
1. Initiation
Open a new CAPA in the 'CAPA Form' tab whenever your initiation criteria are met (e.g., audit nonconformity, complaint trend, significant nonconforming product, regulatory finding). Assign a unique CAPA number and register it in the 'CAPA Log' tab.
2. Problem Description
Describe the problem with objective evidence: what, where, when, how many, how detected. Avoid embedding assumed causes in the description.
3. Risk Assessment & Immediate Action
Evaluate impact on product already in the field, patient safety, and regulatory reportability. Document any containment / correction taken immediately (correction fixes the instance; corrective action prevents recurrence).
4. Root Cause Analysis
Use the '5 Whys Worksheet' tab or another structured method (Fishbone, Fault Tree). The root cause must explain ALL the objective evidence. 'Operator error' alone is almost never an acceptable root cause - ask why the error was possible.
5. Action Plan
Define corrective (and/or preventive) actions addressing the root cause, each with a responsible person and due date. Actions should be proportionate to the risk (Clause 8.5.2 requires actions 'without undue delay').
6. Implementation Verification
Verify each action was actually implemented as planned (documents updated, training delivered, equipment modified) and verify the action does not adversely affect the ability to meet regulatory requirements or the safety/performance of the device.
7. Effectiveness Review
After a defined monitoring period, check measurable evidence that the problem has not recurred (e.g., zero repeat complaints in 90 days, audit re-check passed). Define the effectiveness criteria BEFORE implementation, not after.
8. Closure
Quality management approves closure only when implementation and effectiveness are both verified. Update the CAPA Log status.
Correction vs. Corrective Action vs. Preventive Action
Correction
Eliminates the detected nonconformity itself (rework, scrap, re-label). Fixes the symptom for the affected items only.
Corrective Action
Eliminates the CAUSE of a detected nonconformity to prevent RECURRENCE.
Preventive Action
Eliminates the cause of a POTENTIAL nonconformity to prevent OCCURRENCE (the problem has not happened yet - identified through data analysis, trends, risk analysis).
Common Audit Findings to Avoid
- Root cause restated as the problem ('seal failed because the seal was bad').
- Effectiveness review missing, or marked complete on the same day as implementation.
- No evaluation of regulatory reportability for complaint-sourced CAPAs.
- CAPA aging without documented justification for extended due dates.
Reference
This template supports ISO 13485:2016 Clauses 8.5.2 (Corrective Action) and 8.5.3 (Preventive Action), and aligns with FDA 21 CFR 820.100 CAPA expectations. For the full collection, see the ISO 13485 Templates page at QualityCoach.net.

## CAPA Form
Corrective / Preventive Action (CAPA) Form
SECTION 1 - IDENTIFICATION
CAPA No.: |  | Date Initiated: |  | Type:
Initiated By: |  | CAPA Owner: |  | Priority:
Source: |  |  |  | Source Ref. No.:
Product / Process Affected:
SECTION 2 - PROBLEM DESCRIPTION
Description of Problem / Potential Problem:
What, where, when, how many, how detected. Include objective evidence (record IDs, lot numbers, photos). Do not include assumed causes here.
SECTION 3 - RISK ASSESSMENT & IMMEDIATE ACTIONS
Field / distributed product affected? |  |  | Regulatory report required?
Risk / Impact Evaluation:
Impact on patient safety, product performance, and compliance. Reference risk management file updates if applicable.
Immediate Containment / Correction Taken:
Actions taken on the affected items themselves (quarantine, rework, customer notification). Include dates and responsible persons.
SECTION 4 - ROOT CAUSE ANALYSIS
Method Used:
Root Cause(s) Identified:
The root cause must explain all the evidence in Section 2. Attach the completed analysis (see 5 Whys Worksheet tab).
SECTION 5 - ACTION PLAN
# | Action Description (Corrective / Preventive) |  |  | Responsible Person | Due Date | Date Completed
1
2
3
4
5
SECTION 6 - IMPLEMENTATION VERIFICATION
Verification that Actions Were Implemented:
Objective evidence each action was completed (revised document numbers, training records, validation reports). Confirm actions do not adversely affect device safety/performance or regulatory compliance.
Verified By: |  |  | Date:
SECTION 7 - EFFECTIVENESS REVIEW
Effectiveness Criteria (defined BEFORE implementation):
Measurable criteria and monitoring period, e.g., 'No repeat complaints of this failure mode for 90 days / 3 production lots'.
Effectiveness Review Results:
Data demonstrating the criteria were met (or not). If not effective, re-open root cause analysis and document a new action plan.
Effective? |  | Reviewed By: |  |  | Date:
SECTION 8 - CLOSURE APPROVAL
Closure Approved By (Quality Management): |  |  |  |  | Date Closed:
Note: Completed CAPA forms are controlled quality records. Retain per your record control procedure. Significant CAPAs are a mandatory input to management review.

## 5 Whys Worksheet
5 Whys Root Cause Analysis Worksheet
Keep asking 'why' until you reach a cause that, if eliminated, prevents recurrence. Stop when the answer is outside your control or becomes speculative.
Problem Statement:
Why 1: Why did the problem occur?
Why 2: Why did that happen?
Why 3: Why did that happen?
Why 4: Why did that happen?
Why 5: Why did that happen?
Root Cause Identified:
Sanity Check:
☐ Does the root cause explain ALL the objective evidence?
☐ If this cause is eliminated, will the problem be prevented from recurring?
☐ Is the root cause within the organization's control to fix?
☐ Is the chain of 'whys' supported by evidence rather than assumption?

## CAPA Log
CAPA Register / Log
Master list of all CAPAs. Review aging and status monthly; summarize in management review.
CAPA No. | Date Initiated | Type | Source | Problem Summary | CAPA Owner | Priority | Due Date | Status | Date Closed | Days Open | Effectiveness Verified?
CAPA-2026-001 | 2026-05-12 | Corrective | Internal Audit | Document control: obsolete work instruction found at assembly station 3 | QA Manager | Medium | 2026-07-15 | Implementation |  | 31 | Pending
CAPA-2026-002 | 2026-06-02 | Corrective | Customer Complaint | Complaint trend: connector detachment reported on Model X (3 complaints in Q2) | Engineering Lead | High | 2026-08-01 | Root Cause Analysis |  | 10 | Pending
Note: 'Days Open' calculates automatically from Date Initiated (uses today's date until a Date Closed is entered). Date columns expect YYYY-MM-DD format. Copy the formula in column K down to new rows.
Formulas:
Days Open = IF([Date Initiated]="","",IF([Date Closed]<>"",DATEVALUE([Date Closed])-DATEVALUE([Date Initiated]),TODAY()-DATEVALUE([Date Initiated])))